|  |  |
| --- | --- |
|  | UNINCORPORATED La Caille property, the ‘red surround I drew around the building.  Sandy Fire would ‘ATTEND’  Yellow hi-lites are unincorporated with any ‘City’, so are under the Salt Lake County.  “They are little islands, not associated with any city.”  2020-11-17 11:20. Spoke with Julie (office mgr) in Milestone; she should talk with Dave today to check where they’re permitting.  Purple lines are city boundaries.  **From Sandy Water PU:**  When a 10 inch water line is looped,  then we could get:   * 3200 psi with 40 psi remaining.   + Static pressure is 130 psi.   When there’s no looped line,  you could only get   * 2400 gpm at 30 psi. * static pressure is 110 psi. |

|  |  |
| --- | --- |
|  |  |

HYDRANTS

|  |  |
| --- | --- |
| Hydrant 3  Hydrant 1  Hydrant 2  Deer Park  The Cottage | Vault (Orange Cover)  Proposed 10” Line |
| Hydrant 2. On the right, by the flame, in the ‘Deer Park’ | |
| Hydrant 1. Opposite ‘The Cottage’ | |
| The cottage hydrant 1 | |
|  | |

The Deer Park Hydrant 2