|  | UNINCORPORATED La Caille property, the ‘red surround I drew around the building. Sandy Fire would ‘ATTEND’ Yellow hi-lites are unincorporated with any ‘City’, so are under the Salt Lake County. “They are little islands, not associated with any city.” 2020-11-17 11:20. Spoke with Julie (office mgr) in Milestone; she should talk with Dave today to check where they’re permitting. Purple lines are city boundaries. From Sandy Water PU: When a 10 inch water line is looped, then we could get: - 3200 psi with 40 psi remaining. - Static pressure is 130 psi. When there’s no looped line, you could only get - 2400 gpm at 30 psi. - static pressure is 110 psi. |
| --- | --- |

HYDRANTS

| Hydrant 3 Hydrant 1 Hydrant 2 Deer Park The Cottage | Vault (Orange Cover) Proposed 10” Line |
| --- | --- |
| Hydrant 2. On the right, by the flame, in the ‘Deer Park’ |  |
| Hydrant 1. Opposite ‘The Cottage’ |  |
| The cottage hydrant 1 |  |

The Deer Park Hydrant 2